## Slide 1: Which are the correct barcode sequences of my NGS Illumina libraries?

## Slide 2: Illumina Sequencing Library construct

## Slide 3
How are the index reads performed?
Index1 (i7) Read: reverse complement of the barcode region (ID) in P7 + adapter
Index2 (i5) Read: barcode region (ID) in P5 + adapter
P7
P5
Some Illumina sequencers read Index2 different. We automatically correct the barcodes for the different mode. Always provide the index2 barcode which is specified for NovaSeq,MiSeq,HiSeq 2000/2500 (even in the case that your libraries are running on a different instrument)

## Slide 4: Example
P7+Adapter:
5’- CAAGCAGAAGACGGCATACGAGAT[CGTGAT]GTCTCGTGGGCTCGG
  Barcode Sequence for Index1: ATCACG
P5+Adapter:
5’- AATGATACGGCGACCACCGAGATCTACAC[CAGGACGT]TCGTCGGCAGCGTC
  Barcode Sequence for Index2: CAGGACGT
Barcode Region

## Slide 5: Summary
Provide barcode sequences as indicated in your library prep kit
For index2 always provide the sequence specific for NovaSeq, MiSeq, HiSeq 2000/2500
In case of custom primers please check carefully for the correct orientation